## List
List
Small-sized Hot Water Boilers
Chillers
VRF
Inverters
Modules
Batteries
Lighting
Heat pumps
Refrigerator
Washing Machine

## Heat pumps - Air-to-Water type
Equipment Type |  |  | Brand | Type | Model | Nominal Capacity Range | Efficiency
[6 empty] | (kW) | COP | SSCEE | SSHEE
HVAC - Cooling Systems
Split AC and Heat Pumps
Split AC & Heat Pumps; Aerothermal energy | Air-to-water type | Heat pump space heaters; heat pump combination heaters
|  | Heat pump, swimming pools, spa | Wotech | BR-A Series, | WBR-26.0 | 25.28 | 5.77
[5 empty] | WBR-31.0 | 30.37 | 5.75
|  |  |  | BR-A1 Series | WBR-45.0 | 44.2 | 5.9
[5 empty] | WBR-55.0 | 52.2 | 5.77
[5 empty] | WBR-90.0 | 76.3 | 5.21
[5 empty] | WBR-135.0 | 117.6 | 5.17
[5 empty] | WBR-200.0 | 203.56 | 5.13
|  | Heat pump, high temperature output | Wotech | BC-Series (up to 60°C heating, floor and radiator heating) | WBC-22 | 21.6 | 4.3
[5 empty] | WBC-30 | 29.5 | 4.3
[5 empty] | WBC-44 | 43.5 | 4.3
[5 empty] | WBC-50 | 48.5 | 4.3
[5 empty] | WBC-65 | 64.5 | 4.3
[5 empty] | WBC-90 | 89.6 | 4.3
|  |  |  | BC-Series (up to 60°C heating, floor and radiator heating) | WBC-19.5 | 19.5 | 4.3
[5 empty] | WBC-39.5 | 39.5 | 4.3
[5 empty] | WBC-80.0 | 80 | 4.3
Low-temperature heat pumps

## VRF
Equipment Type | Sub Category |  |  | Brand | Type | Model | Nominal Capacity Range | Seasonal Efficiency According to EU Ecodesign 2016/2281
[7 empty] | (kW) | SSCEE | SSHEE
HVAC - Cooling Systems
Split AC and Heat Pumps
Split AC & Heat Pumps; Aerothermal energy | Air-to-air type | VRF – Heat pump > 12 kW (Commercial size) | Non-continuous heating | Daikin | VRV IV Heat Pump | RXYQ8T | 22.4 (8 HP) | 212.4% | 142%
[6 empty] | RXYQ10T | 28.0 (10 HP) | 222% | 147.2%
[6 empty] | RXYQ12T | 33.5 (12 HP) | 216.9% | 149.6%
[6 empty] | RXYQ14T | 40.0 (14 HP) | 226.6% | 136.7%
[6 empty] | RXYQ16T | 45.0 (16 HP) | 216.8% | 137%
[6 empty] | RXYQ18T | 50.4 (18 HP) | 216.2% | 141.4%
[6 empty] | RXYQ20T | 52.0 (20 HP) | 210.3% | 145.4%
[6 empty] | RXYQ22T | 61.5 (22 HP) | 213.5% | 150%
[6 empty] | RXYQ24T | 67.4 (24 HP) | 215.3% | 144.5%
[6 empty] | RXYQ26T | 73.5 (26 HP) | 222% | 143.8%
[6 empty] | RXYQ28T | 78.5 (28 HP) | 216.8% | 142.6%
[6 empty] | RXYQ30T | 83.9 (30 HP) | 216.2% | 138.8%
[6 empty] | RXYQ32T | 90.0 (32 HP) | 216.8% | 137%
[6 empty] | RXYQ34T | 95.4 (34 HP) | 216.4% | 141.8%
[6 empty] | RXYQ36T | 97.0 (36 HP) | 213.2% | 143.9%
[6 empty] | RXYQ38T | 102.4 (38 HP) | 213.6% | 147.6%
[6 empty] | RXYQ40T | 111.9 (40 HP) | 217.6% | 145.7%
[6 empty] | RXYQ42T | 118.0 (42 HP) | 217.6% | 143.3%
[6 empty] | RXYQ44T | 123.5 (44 HP) | 216.8% | 143.2%
[6 empty] | RXYQ46T | 130.0 (46 HP) | 219.7% | 136.9%
[6 empty] | RXYQ48T | 135.0 (48 HP) | 216.8% | 137%
[6 empty] | RXYQ50T | 140.4 (50 HP) | 216.5% | 139.9%
[6 empty] | RXYQ52T | 145.8 (52 HP) | 216.3% | 142%
[6 empty] | RXYQ54T | 151.2 (54 HP) | 216.2% | 142.1%
|  |  | Continuous heating | Daikin | VRV IV heat pump Continuous Heating | RYYQ8T | 22.4 (8 HP) | 212.4% | 142%
[6 empty] | RYYQ10T | 28.0 (10 HP) | 222% | 147.2%
[6 empty] | RYYQ12T | 33.5 (12 HP) | 216.9% | 149.6%
[6 empty] | RYYQ14T | 40.0 (14 HP) | 226.6% | 136.7%
[6 empty] | RYYQ16T | 45.0 (16 HP) | 216.8% | 137%
[6 empty] | RYYQ18T | 50.4 (18 HP) | 216.2% | 141.4%
[6 empty] | RYYQ20T | 52.0 (20 HP) | 210.3% | 145.4%
[6 empty] | RYYQ22T | 61.5 (22 HP) | 213.5% | 150%
[6 empty] | RYYQ24T | 67.4 (24 HP) | 215.3% | 144.5%
[6 empty] | RYYQ26T | 73.5 (26 HP) | 222% | 143.8%
[6 empty] | RYYQ28T | 78.5 (28 HP) | 216.8% | 142.6%
[6 empty] | RYYQ30T | 83.9 (30 HP) | 216.2% | 138.8%
[6 empty] | RYYQ32T | 90.0 (32 HP) | 216.8% | 137%
[6 empty] | RYYQ34T | 95.4 (34 HP) | 216.4% | 141.8%
[6 empty] | RYYQ36T | 97.0 (36 HP) | 213.2% | 143.9%
[6 empty] | RYYQ38T | 102.4 (38 HP) | 213.6% | 146%
[6 empty] | RYYQ40T | 111.9 (40 HP) | 217.6% | 145.7%
[6 empty] | RYYQ42T | 118.0 (42 HP) | 217.6% | 143.3%
[6 empty] | RYYQ44T | 123.5 (44 HP) | 216.8% | 143.2%
[6 empty] | RYYQ46T | 130.0 (46 HP) | 219.7% | 136.9%
[6 empty] | RYYQ48T | 135.0 (48 HP) | 216.8% | 137%
[6 empty] | RYYQ50T | 140.4 (50 HP) | 216.5% | 139.9%
[6 empty] | RYYQ52T | 145.8 (52 HP) | 216.3% | 142%
[6 empty] | RYYQ54T | 151.2 (54 HP) | 216.2% | 142.1%
|  |  | Air cooled – Heat Recovery | Daikin | VRV IV Condensing Units – Heat Recovery | REYQ8T | 22.4 (8 HP) | 212.4% | 146.8%
[6 empty] | REYQ10T | 28.0 (10 HP) | 222% | 152.3%
[6 empty] | REYQ12T | 33.5 (12 HP) | 216.9% | 155.5%
[6 empty] | REYQ14T | 40.0 (14 HP) | 226.6% | 138.4%
[6 empty] | REYQ16T | 45.0 (16 HP) | 216.8% | 138.9%
[6 empty] | REYQ18T | 50.4 (18 HP) | 216.2% | 149.1%
[6 empty] | REYQ20T | 55.9 (20 HP) | 215% | 152.3%
[6 empty] | REYQ22T | 61.5 (22 HP) | 213.5% | 155.7%
[6 empty] | REYQ24T | 67.4 (24 HP) | 215.3% | 147.5%
[6 empty] | REYQ26T | 73.5 (26 HP) | 222% | 151%
[6 empty] | REYQ28T | 78.5 (28 HP) | 216.8% | 150.9%
[6 empty] | REYQ30T | 83.9 (30 HP) | 216.2% | 152.9%
[6 empty] | REYQ32T | 90.0 (32 HP) | 216.8% | 138.9%
[6 empty] | REYQ34T | 95.4 (34 HP) | 216.4% | 146.8%
[6 empty] | REYQ36T | 97.0 (36 HP) | 213.2% | 146.1%
[6 empty] | REYQ38T | 106.3 (38 HP) | 215.3% | 151.3%
[6 empty] | REYQ40T | 111.9 (40 HP) | 217.6% | 153%
[6 empty] | REYQ42T | 118.0 (42 HP) | 217.6% | 145.7%
[6 empty] | REYQ44T | 123.5 (44 HP) | 216.8% | 145.6%
[6 empty] | REYQ46T | 130.0 (46 HP) | 219.7% | 138.2%
[6 empty] | REYQ48T | 135.0 (48 HP) | 216.8% | 138.9%
|  |  | Reversible | CHIGO | CMV-X+ | CMV-D252W/ZR1-BE | 25.2 kW | 305% | 165%
[6 empty] | CMV-D280W/ZR1-BE | 28.0 kW | 299% | 165%
[6 empty] | CMV-D335W/ZR1-BE | 33.5 kW | 289% | 181%
[6 empty] | CMV-D400W/ZR1-BE | 40.0 kW | 253% | 165%
[6 empty] | CMV-D450W/ZR1-BE | 45.0 kW | 249% | 165%
[6 empty] | CMV-D500W/ZR1-BE | 50.0 kW | 291% | 153%
[6 empty] | CMV-D560W/ZR1-BE | 56.0 kW | 265% | 153%
[6 empty] | CMV-D615W/ZR1-BE | 61.5 kW | 257% | 153%
|  |  |  | Samsung | DVM S | AM080JXVHGH | 22.4 (8 HP) | 351.4% | 194.2%
[6 empty] | AM100JXVHGH | 26.7 (10 HP) | 342.6% | 189.4%
[6 empty] | AM120JXVHGH | 33.5 (12 HP) | 337% | 180.6%
[6 empty] | AM140JXVHGH/ET | 40.0 (14 HP) | 343.4% | 190.2%
[6 empty] | AM160JXVHGH/ET | 44.8 (16 HP) | 335.8% | 186.2%
[6 empty] | AM180JXVHGH/ET | 49.1 (18 HP) | 338.6% | 187.4%
[6 empty] | AM200JXVHGH/ET | 53.4 (20 HP) | 313.4% | 189.4%
[6 empty] | AM220JXVHGH/ET | 60.3 (22 HP) | 295.4% | 185%
| Water-to-air type | VRF – Heat pump > 12 kW (Commercial size) | Water-cooled VRF | Daikin | VRV IV W+ Water Cooled Condensing Units | RWEYQ8T9 | 22.4 (8 HP) | 326.8% | 524.3%
[6 empty] | RWEYQ10T9 | 26.7 (10 HP) | 307.8% | 465.9%
[6 empty] | RWEYQ12T9 | 33.5 (12 HP) | 359% | 436%
[6 empty] | RWEYQ14T9 | 40.0 (14 HP) | 330.7% | 397.1%
[6 empty] | RWEYQ16T | 44.8 (16 HP) | 307.6% | 459.2%
[6 empty] | RWEYQ18T | 49.1 (18 HP) | 308.7% | 491.1%
[6 empty] | RWEYQ20T | 53.4 (20 HP) | 298.1% | 466.8%
[6 empty] | RWEYQ22T | 60.3 (22 HP) | 311.3% | 447.9%
[6 empty] | RWEYQ24T | 67.2 (24 HP) | 342.6% | 434.5%
[6 empty] | RWEYQ26T | 71.5 (26 HP) | 322.5% | 406.9%
[6 empty] | RWEYQ28T | 75.8 (28 HP) | 306.1% | 387.9%
[6 empty] | RWEYQ30T | 83.5 (30 HP) | 308.3% | 467.2%
[6 empty] | RWEYQ32T | 90.0 (32 HP) | 318.2% | 456.1%
[6 empty] | RWEYQ34T | 95.0 (34 HP) | 342.5% | 447%
[6 empty] | RWEYQ36T | 101.0 (36 HP) | 352.3% | 438.5%
[6 empty] | RWEYQ38T | 106.0 (38 HP) | 338.8% | 419.4%
[6 empty] | RWEYQ40T | 112.0 (40 HP) | 341.4% | 404.4%
[6 empty] | RWEYQ42T | 118.0 (42 HP) | 332.9% | 391.2%
1 Costs from the manufacturer’s website (Europe)

## Lighting
EE and RE Technologies | [5 empty] | LEME Minimum Energy Performance | International/European Reference Standards | Comments
Lighting Systems
Fixtures and Lamps
Indoor LED lamps | Application | Description | Product type |  | LED replacement description | - | LEME corresponds to average efficiency found on the market in the US in 2016. | Efficiency also depends on correlated colour temperature (CCT), colour rendering index (CRI), beam angle, luminance distribution, etc.
| A-type | A-type lamp shapes with medium-screw base | Lamp |  | A-type replacement lamps | 90 lm/W
| Decorative | Bullet, candle, flare, globe, and any other decorative lamp shapes, as well as integrated chandelier, single head pendant, wall sconce, lantern, and cove luminaire products. | Lamp |  | B, BA, C, CA, F and G replacement lamps | 80 lm/W
|  |  | Luminaire |  | Integrated chandelier, single head pendant, wall sconce, lantern, and cove luminaires | 85 lm/W
| Directional | Reflector (R), bulged reflector (BR), and parabolic reflector (PAR) lamps, as well as track heads and integrated track luminaires. | Lamp |  | PAR, BR, and R lamps | 80 lm/W
|  |  | Luminaire |  | Track heads and integrated track luminaires | 80 lm/W
| Small directional | Multifaceted reflector (MR) lamps. | Lamp |  | MR16 lamps | 80 lm/W
| Downlighting | Reflector (R), bulged reflector (BR), and parabolic reflector (PAR) lamps used for downlighting, as well as, retrofit kits and integrated downlight luminaires. | Lamp & Retrofit kits |  | Downlight retrofit kits | 80 lm/W
|  |  | Luminaire | Recessed | Integrated downlight luminaires | 80 lm/W
Surface
Pendant
| Linear fixtures | Lamp replacements for T12, T8 and T5 fluorescent lamps, as well as retrofit kits and luminaires replacing traditional fluorescent fixtures (i.e., troffers, linear pendants, strip, wrap around, and undercabinet). | Lamp |  | Linear tube replacements | 110 lm/W
|  |  | Retrofit kit & Luminaire |  | Panels and recessed/surface-mounted troffer retrofit kits & luminaires | 100 lm/W
| Low/High Bay | High wattage lamp replacements as well as low and high bay integrated fixtures. | Lamp |  | High wattage lamp replacements | 105 lm/W
|  |  | Luminaire |  | High and low bay luminaires | 110 lm/W
Outdoor LED lamps | Application | Description | Product type |  | LED replacement description | -
| Parking Lot | High wattage lamp replacements as well as luminaires used in parking lot and top deck parking garage illumination | Lamps and luminaires |  | Outdoor area/roadway lamps and Luminaires | 95 lm/W
| Parking garage | Replacement lamps and luminaires for attached and stand-alone covered parking garages. | Lamp |  | Linear T8 tube replacements | 105 lm/W
|  |  | Luminaire |  | Integrated parking garage luminaires | 100 lm/W
| Building exterior | Lamps and luminaires installed in façade, spot, architectural, flood, wall pack, bollard and step/path applications. Not including solar cell products | Lamps and luminaires |  | Spot and flood lights, architectural wall pack, and step/path lamps and luminaires | 95 lm/W

## Solar PV Inverters
# | Manufacturer | Model | POWER AC KW | POWER AC KVA
1 | SMA Technologie AG | SB 700 | 0.7
2 | SMA Technologie AG | SB 1100 | 1
3 | SMA Technologie AG | SB 1200 | 1.2
4 | SMA Technologie AG | SB 1700 | 1.55
5 | SMA Technologie AG | SB 2500 | 2.3
6 | SMA Technologie AG | SB 3000 | 2.75
7 | SMA Technologie AG | SB 3300 | 3.3
8 | SMA Technologie AG | SB 3800 | 3.8
9 | SMA Technologie AG | SMC-4600 A | 4.6
10 | SMA Technologie AG | SMC-5000 A | 5
11 | SMA Technologie AG | SMC-6000 A | 5.5
12 | SMA Technologie AG | SB 1300 TL-10 | 1.3
13 | SMA Technologie AG | SB 1600 TL-10 | 1.6
14 | SMA Technologie AG | SB 2100 TL | 2.1
15 | SMA Technologie AG | SB 3000 TL | 3
16 | SMA Technologie AG | SB 4000 TL | 3
17 | SMA Technologie AG | SB 5000 TL | 4.6
18 | SMA Technologie AG | SMC 6000 TL | 6
19 | SMA Technologie AG | SMC 7000 TL | 7
20 | SMA Technologie AG | SMC 8000 TL | 8
21 | SMA Technologie AG | SMC 9000 TL | 9
22 | SMA Technologie AG | SMC 10000 TL | 10
23 | SMA Technologie AG | SMC 11000 TL | 1
24 | SMA Technologie AG | SMC 7000 HV | 6.65
25 | SMA Technologie AG | Sunny Boy 2000 HF-30 | 2
26 | SMA Technologie AG | Sunny Boy 2500HF-30 | 2.5
27 | SMA Technologie AG | Sunny Boy 3000HF-30 | 3
28 | SMA Technologie AG | Sunny Boy 3.0/3.6/4.0/5.0 | 3.0-5.0
29 | SMA Technologie AG | STP5000TL | 5
30 | SMA Technologie AG | STP6000TL | 6
31 | SMA Technologie AG | STP7000TL | 7
32 | SMA Technologie AG | STP8000TL | 8
33 | SMA Technologie AG | STP9000TL | 9
34 | SMA Technologie AG | STP10000TL | 10
35 | SMA Technologie AG | STP12000TL | 12
36 | SMA Technologie AG | STP15000TL | 15
37 | SMA Technologie AG | STP17000TL | 17
38 | SMA Technologie AG | STP17000TL-10/V0161 | 16
39 | SMA Technologie AG | STP 8000TL-10 | 8
40 | SMA Technologie AG | STP 10000TL-10 | 10
41 | SMA Technologie AG | STP 12000TL-10 | 12
42 | SMA Technologie AG | STP 15000TL-10 | 15
43 | SMA Technologie AG | STP 15000TLHE-10 | 15
44 | SMA Technologie AG | STP 15000TLEE-10 | 15
45 | SMA Technologie AG | STP17000TL-10 | 17
46 | SMA Technologie AG | STP 20000TLEE-10 | 20
47 | SMA Technologie AG | STP 20000TLEE-10 | 20
48 | SMA Technologie AG | Sunny Tripower STP 8000TL-10 | 8
49 | SMA Technologie AG | WTP 5000 TL-20 | 5
50 | SMA Technologie AG | WTP 6000 TL-20 | 6
51 | SMA Technologie AG | WTP 7000 TL-20 | 7
52 | SMA Technologie AG | WTP 8000 TL-20 | 8
53 | SMA Technologie AG | WTP 9000 TL-20 | 9
54 | SMA Technologie AG | SCXXXCP | KW 880-550
55 | SMA Technologie AG | SB 2500 TLST-21 | 2.5
56 | SMA Technologie AG | SB 3000 TL-21 | 3.2
57 | SMA Technologie AG | SB 3000 TL-21 | 3.2
58 | SMA Technologie AG | SB 3600 TL-21 | 3.68
59 | SMA Technologie AG | SB 4000 TL-21 | 2.5
60 | SMA Technologie AG | SB 5000 TL-21 | 3.2
61 | SMA Solar Technology AG | STP 5000TL-20 | 5
62 | SMA Solar Technology AG | STP 6000TL-20 | 6
63 | SMA Solar Technology AG | STP 7000TL-20 | 7
64 | SMA Solar Technology AG | STP 8000TL-20 | 8
65 | SMA Solar Technology AG | STP 9000TL-20 | 9
66 | SMA Solar Technology AG | STP 10000TL-20 | 10
67 | SMA Solar Technology AG | STP 12000TL-20 | 12
68 | SMA Solar Technology AG | STP 25000TL-30 | 25
69 | SMA Solar Technology AG | STP 20000TL-30 | 20
70 | SMA Solar Technology AG | MLX 60 |  | 60
71 | SMA Solar Technology AG | STP 50-40 |  | 50
72 | SMA Solar Technology AG | STP 60-10 |  | 60
73 | SMA Solar Technology AG | FLX Pro 15 |  | 15
74 | SMA Solar Technology AG | FLX Pro 17 |  | 17
75 | SMA Solar Technology AG | SB5.0-1AV-40 |  | 5
76 | SMA Solar Technology AG | SB4.0-1AV-40 |  | 4
77 | SMA Solar Technology AG | SB3.6-1AV-40 |  | 3.68
78 | SMA Solar Technology AG | SB3.0-1AV-40 |  | 3
79 | SMA Solar Technology AG | STP 60-10 |  | 60
80 | SMA Solar Technology AG | SHP 75-10 |  | 75
81 | SMA Solar Technology AG | SUNNY TRIPOWER CORE 1 | 50
82 | Kaco new energy GmbH | Powador 6.0TL3-INT-A |  | 5
83 | Kaco new energy GmbH | Powador 7.8TL3-INT-A |  | 6.5
84 | Kaco new energy GmbH | Powador 9.0TL3-INT-A |  | 7.5
85 | Kaco new energy GmbH | Powador 20.0TL3-INT-A |  | 17
86 | Kaco | Powador 1501xi | 1.65
87 | Kaco | Powador 3501xi | 3.5
88 | Kaco | Powador 4501xi | 5
89 | Kaco | Powador 6400xi | 6.4
90 | Kaco | Powador 6400 supreme | 6.4
91 | Kaco | Powador 7200xi | 7.2
92 | Kaco | Powador 7200 supreme | 7.2
93 | Kaco | Powador 8000xi | 8
94 | Kaco | TS 22 LV | 21.7
95 | Kaco | TS 24 HV | 23.6
96 | Kaco | XP- 77 | 100
97 | Kaco | XP-350 | 350
98 | Kaco | 10.0TL3 | 9
99 | Kaco | 12.0TL3 | 10
100 | Kaco | 14.0TL3 | 12.5
101 | Kaco | 18.0TL3 | 15
102 | Kaco | XP100HV | 100
103 | Kaco | XP200HV | 200
104 | Kaco | XP250HV | 250
105 | Kaco | XP200HVTL | 200
106 | Kaco | XP250HVTL | 250
107 | Kaco | XP350HVTL | 350
108 | Kaco New Energy GmbH | 39.0 TL3-XL-INT |  | 33.3
109 | Kaco New Energy GmbH | 37.5 TL3-XL-INT |  | 30
110 | Kaco New Energy GmbH | 36.0 TL3-XL-INT |  | 30
111 | Kaco New Energy GmbH | 33.0 TL3-XL-AU/IL |  | 28
112 | Kaco New Energy GmbH | 30.0 TL3-XL-INT |  | 25
113 | Kaco New Energy GmbH | Powador 6.0TL3-INT-A |  | 5
114 | Kaco New Energy GmbH | Powador 7.8TL3-INT-A |  | 6.5
115 | Kaco New Energy GmbH | Powador 9.0TL3-INT-A |  | 7.5
116 | Kaco New Energy GmbH | Powador 10.0TL3-INT-A |  | 9
117 | Kaco New Energy GmbH | Powador 12.0TL3-INT |  | 10
118 | Kaco New Energy GmbH | Powador 14.0TL3-INT |  | 12.5
119 | Kaco New Energy GmbH | Powador 18.0TL3-INT |  | 15
120 | Kaco New Energy GmbH | Powador 20.0TL3-INT-A |  | 17
121 | Kaco New Energy GmbH | Powader 60.0 TL3 | 49.9
122 | Kaco New Energy GmbH | BluePlanet 5 TL3 M2 WM OD IIG0 |  | 5
123 | Kaco New Energy GmbH | BluePlanet 6.5 TL3 M2 WM OD IIG0 |  | 6.5
124 | Kaco New Energy GmbH | BluePlanet 7.5 TL3 M2 WM OD IIG0 |  | 7.5
125 | Kaco New Energy GmbH | BluePlanet 8.6 TL3 M2 WM OD IIG0 |  | 8.6
126 | Kaco New Energy GmbH | BluePlanet 9 TL3 M2 WM OD IIG0 |  | 9
127 | Kaco New Energy GmbH | BluePlanet 10 TL3 M2 WM OD IIG0 |  | 10
128 | Kaco New Energy GmbH | BluePlanet 15-20 TL3 | 15-20
129 | Kaco New Energy GmbH | BluePlanet 50 TL3 M1 WM OD IIGM | 50
130 | Kaco New Energy GmbH | BluePlanet 50 TL3 M1 WM OD IIGB | 50
131 | Kaco New Energy GmbH | BluePlanet 50 TL3 M1 WM OD IIGX | 50
132 | Kaco New Energy GmbH | BluePlanet 5 TL3 M2 WM OD IIG0 |  | 5
133 | Kaco New Energy GmbH | BluePlanet 6.5 TL3 M2 WM OD IIG0 |  | 6.5
134 | Kaco New Energy GmbH | BluePlanet 7.5 TL3 M2 WM OD IIG0 |  | 7.5
135 | Kaco New Energy GmbH | BluePlanet 9 TL3 M2 WM OD IIG0 |  | 9
136 | Kaco New Energy GmbH | Powador 12.0TL3-INT |  | 10
137 | Kaco New Energy GmbH | Powador 14.0TL3-INT |  | 12.5
138 | Kaco New Energy GmbH | Powador 18.0TL3-INT |  | 15
139 | Kaco New Energy GmbH | Powador 20.0TL3-INT |  | 17
140 | Kaco New Energy GmbH | Blueplanet 20.0 TL3 M2 WM OD IIG0 |  | 20
141 | Kaco New Energy GmbH | Powador 30.0 TL3 - M - INT |  | 25
142 | Kaco New Energy GmbH | Powador 30.0 TL3 - XL - INT |  | 25
143 | Kaco New Energy GmbH | Powador 30.0 TL3 - XL - INT - SPD 1+2 |  | 25
144 | Kaco New Energy GmbH | Powador 30.0 TL3 - XL - F - INT |  | 25
145 | Kaco New Energy GmbH | Powador 30.0 TL3 - XL - F - SPD 1+2 |  | 25
146 | Kaco New Energy GmbH | Powador 33.0 TL3 - M - INT |  | 28
147 | Kaco New Energy GmbH | Powador 33.0 TL3 - XL - INT |  | 28
148 | Kaco New Energy GmbH | Powador 33.0 TL3 - XL - INT - SPD 1+2 |  | 28
149 | Kaco New Energy GmbH | Powador 33.0 TL3 - XL - F - INT |  | 28
150 | Kaco New Energy GmbH | Powador 33.0 TL3 - XL - F - SPD 1+2 |  | 28
151 | Kaco New Energy GmbH | Powador 36.0 TL3 - M - INT |  | 30
152 | Kaco New Energy GmbH | Powador 36.0 TL3 - M1 |  | 30
153 | Kaco New Energy GmbH | Powador 36.0 TL3 - XL - INT |  | 30
154 | Kaco New Energy GmbH | Powador 36.0 TL3 - XL - INT - SPD 1+2 |  | 30
155 | Kaco New Energy GmbH | Powador 36.0 TL3 - XL - F - INT |  | 30
156 | Kaco New Energy GmbH | Powador 36.0 TL3 - XL - F - SPD 1+2 |  | 30
157 | Kaco New Energy GmbH | Powador 39.0 TL3 - M - INT |  | 33.3
158 | Kaco New Energy GmbH | Powador 39.0 TL3 - M1 |  | 33.3
159 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL - INT |  | 33.3
160 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL - INT - SPD 1+2 |  | 33.3
161 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL - F - INT |  | 33.3
162 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL - F - SPD 1+2 |  | 33.3
163 | Kaco New Energy GmbH | Powador 40.0 TL3 - M - INT |  | 36
164 | Kaco New Energy GmbH | Powador 40.0 TL3 - XL - INT |  | 36
165 | Kaco New Energy GmbH | Powador 40.0 TL3 - XL - INT - SPD 1+2 |  | 36
166 | Kaco New Energy GmbH | Powador 40.0 TL3 - XL - F - INT |  | 36
167 | Kaco New Energy GmbH | Powador 40.0 TL3 - XL - F - |  | 36
168 | Kaco New Energy GmbH | Powador 48.0TL3 - M - INT -Park |  | 40
169 | Kaco New Energy GmbH | Powador 48.0TL3 - XL - INT -Park |  | 40
170 | Kaco New Energy GmbH | Powador 48.0TL3 - XL - INT -SPD 1+2 |  | 40
171 | Kaco New Energy GmbH | Powador 48.0TL3 - XL - F - INT- Park |  | 40
172 | Kaco New Energy GmbH | Powador 48.0TL3 - XL - F -SPD 1+2 - Park |  | 40
173 | Kaco New Energy GmbH | Powador 60.0TL3 - M - INT |  | 49.9
174 | Kaco New Energy GmbH | Powador 60.0TL3 - XL - INT |  | 49.9
175 | Kaco New Energy GmbH | Powador 60.0TL3 - XL - INT -SPD 1+2 |  | 49.9
176 | Kaco New Energy GmbH | Powador 60.0TL3 - XL - F -INT |  | 49.9
177 | Kaco New Energy GmbH | Powador 60.0TL3 - XL - F -SPD 1+2 |  | 49.9
178 | Kaco New Energy GmbH | Powador 72.0TL3 - M - INT -Park |  | 60
179 | Kaco New Energy GmbH | Powador 72.0TL3 - XL - INT -Park |  | 60
180 | Kaco New Energy GmbH | Powador 72.0TL3 - XL - INT -SPD 1+2 |  | 60
181 | Kaco New Energy GmbH | Powador 72.0TL3 - XL - F - INT- Park |  | 60
182 | Kaco New Energy GmbH | Powador 72.0TL3 - XL - F -SPD 1+2 - Park |  | 15
183 | Kaco New Energy GmbH | BluePlanet 15.0TL3 M2 WM ODIIG0 |  | 20
184 | Kaco New Energy GmbH | BluePlanet 20.0TL3 M2 WM ODIIG0 |  | 50
185 | Kaco New Energy GmbH | blueplanet 50.0TL3 M1 WM ODIIGM |  | 50
186 | Kaco New Energy GmbH | blueplanet 50.0TL3 M1 WM ODIIGB |  | 50
187 | Kaco New Energy GmbH | blueplanet 50.0TL3 M1 WM ODIIGX |  | 50
188 | Kaco New Energy GmbH | blueplanet 50.0TL3 M1 WM ODIIGS |  | 50
189 | Kaco New Energy GmbH | blueplanet 50.0TL3 M1 WM ODFRGX |  | 50
190 | Fronius International GmbH | IG 60 | 4.6
191 | Fronius International GmbH | IG PLUS 35 | 3.5
192 | Fronius International GmbH | IG PLUS 50 | 4
193 | Fronius International GmbH | IG PLUS 70 | 6.5
194 | Fronius International GmbH | IG PLUS 100 | 8
195 | Fronius International GmbH | IG PLUS 120 | 10
196 | Fronius International GmbH | IG PLUS 150 | 12
197 | Fronius International GmbH | IG PLUS 35V-1 | 3.5
198 | Fronius International GmbH | IG PLUS 50V-1 | 4
199 | Fronius International GmbH | STP17000 TL-10 | 8
200 | Fronius International GmbH | inverter STP8000 TL-10 | 8
201 | Fronius International GmbH | IGTL3.0 | 3
202 | Fronius International GmbH | IGTL 3.5 | 3.68
203 | Fronius International GmbH | IGTL 4.0 | 4
204 | Fronius International GmbH | IGTL5.0 | 5
205 | Fronius International GmbH | IGPlus70V-1 | 6.5
206 | Fronius International GmbH | IGPlus100v-1 | 8
207 | Fronius International GmbH | IGPlus70V-2 | 6500
208 | Fronius International GmbH | IGPlus100v-2 | 8000
209 | Fronius International GmbH | IGPlus120V-3 | 10
210 | Fronius International GmbH | IGPlus150v-3 | 12
211 | Fronius International GmbH | IG-PLUS100V-3 | 8
212 | Fronius International GmbH | IG-PLUS100V-3 | 7.5
213 | Fronius International GmbH | IG-PLUS30V-1 | 3
214 | Fronius International GmbH | CL60 | 60
215 | Fronius International GmbH | Fronius Galvo 3.1-1 | 3.1
216 | Fronius International GmbH | Fronius Galvo 3.0-1 | 3
217 | Fronius International GmbH | Fronius Galvo 2.5-1 | 2.5
218 | Fronius International GmbH | Fronius Galvo 2.0-1 | 2
219 | Fronius International GmbH | Fronius Galvo 1.5-1 | 1.5
220 | Fronius International GmbH | FRONIUS SYMO 3.0-3-M | 3
221 | Fronius International GmbH | FRONIUS SYMO 3.7-3-M | 3.7
222 | Fronius International GmbH | FRONIUS SYMO 4.5-3-M | 4.5
223 | Fronius International GmbH | FRONIUS SYMO 5.0-3-M | 5
224 | Fronius International GmbH | FRONIUS SYMO 5.5-3-M | 5.5
225 | Fronius International GmbH | FRONIUS SYMO 6.0-3-M | 6
226 | Fronius International GmbH | FRONIUS SYMO 6.7-3-M | 6.7
227 | Fronius International GmbH | FRONIUS SYMO 7.0-3-M | 7
228 | Fronius International GmbH | FRONIUS SYMO 8.0-3-M | 8
229 | Fronius International GmbH | FRONIUS SYMO 8.2-3-M | 8.2
230 | OUYAD | MKS II series | 5
231 | OUYAD | HYG series | 5.5 - 30
232 | OUYAD | HY VMII series | 3.2-5
233 | OUYAD | HYB series |  | `3-5
234 | OUYAD | Grid tie series | `3-32
235 | Delta Energy System | SI 2500 | 2.5
236 | Delta Energy System | SI 3300 | 3.3
237 | Delta Energy System | SI 5000 | 5
238 | Delta Energy System | SI 11 KW | 11
239 | Power-One Energy Solutions Pty Ltd. | PVI 2000 | 2
240 | Power-One Energy Solutions Pty Ltd. | PVI 3300 | 3.3
241 | Power-One Energy Solutions Pty Ltd. | PVI 3600 | 3.6
242 | Power-One Energy Solutions Pty Ltd. | PVI 5000 | 4.6
243 | Power-One Energy Solutions Pty Ltd. | PVI 6000 | 6000
244 | Power-One Energy Solutions Pty Ltd. | PVI-3600-OUTD-W | 3600
245 | Power-One Energy Solutions Pty Ltd. | PVI-6000-OUTD-W | 6
246 | Power-One Energy Solutions Pty Ltd. | PVI-3.6-OUTD -AU | 3.6
247 | Power-One Energy Solutions Pty Ltd. | PVI-3.6-OUTD-S-AU | 3.6
248 | Power-One Energy Solutions Pty Ltd. | PVI-4.2-OUTD-AU | 4.6
249 | Power-One Energy Solutions Pty Ltd. | PVI- 4.2 -OUTD-S-AU | 4.2
250 | Power-One Energy Solutions Pty Ltd. | PVI-5000-OUTD-AU | 5
251 | Power-One Energy Solutions Pty Ltd. | PVI-5000-OUTD-S-AU | 5
252 | Power-One Energy Solutions Pty Ltd. | PVI-6000-OUTD-AU | 6
253 | Power-One Energy Solutions Pty Ltd. | PVI-6000-OUTD-S-AU | 6
254 | Power-One Energy Solutions Pty Ltd. | PVI-12.5-OUTD-FS-AU | 12.5
255 | Power-One Energy Solutions Pty Ltd. | PVI-12.5-OUTD-S-AU | 12.5
256 | Power-One Energy Solutions Pty Ltd. | PVI-12.5-OUTD-AU | 12.5
257 | Power-One Energy Solutions Pty Ltd. | PVI-10.0-OUTD-FS-AU | 10
258 | Power-One Energy Solutions Pty Ltd. | PVI-10.0-OUTD-S-AU | 10
259 | Power-One Energy Solutions Pty Ltd. | PVI-10-OUTD-AU | 10
260 | Power-One Energy Solutions Pty Ltd. | PVI-4.2-OUTD-AU/L4K | 4
261 | Power-One Energy Solutions Pty Ltd. | PVI-55IT | 55
262 | Power-One Energy Solutions Pty Ltd. | PVI110.0 IT | 110
263 | Power-One Energy Solutions Pty Ltd. | PVI55TL | 55
264 | Power-One Energy Solutions Pty Ltd. | PVI 110TL | 110
265 | POWER-ONE ITALY S.p.A. | PVS-100-TL | 100
266 | POWER-ONE ITALY S.p.A. | PVS-120-TL | 120
267 | POWER-ONE ITALY S.p.A. | PVI-10.0-TL-OUTD | 10
268 | POWER-ONE ITALY S.p.A. | PVI-10.0-TL-OUTD-S | 10
269 | POWER-ONE ITALY S.p.A. | PVI-10.0-TL-OUTD-FS | 10
270 | POWER-ONE ITALY S.p.A. | PVI-11.0-TL-OUTD | 11
271 | POWER-ONE ITALY S.p.A. | PVI-11.0-TL-OUTD-S | 11
272 | POWER-ONE ITALY S.p.A. | PVI-11.0-TL-OUTD-FS | 11
273 | POWER-ONE ITALY S.p.A. | PVI-11.0-TL-OUTD-W | 11
274 | POWER-ONE ITALY S.p.A. | PVI-12.5-TL-OUTD | 12.5
275 | POWER-ONE ITALY S.p.A. | PVI-12.5-TL-OUTD-S | 12.5
276 | Power-One Energy Solutions Pty Ltd. | PVI-165IT | 165
277 | Power-One Energy Solutions Pty Ltd. | PVI-220IT | 220
278 | Power-One Energy Solutions Pty Ltd. | PVI-165TL | 165
279 | Power-One Energy Solutions Pty Ltd. | PVI220TL | 220
280 | Power-One Energy Solutions Pty Ltd. | PVI-275-IT | 275
281 | Power-One Energy Solutions Pty Ltd. | PVI275-TL | 275
282 | Power-One Energy Solutions Pty Ltd. | PVI-330IT | 330
283 | Power-One Energy Solutions Pty Ltd. | PVI330TL | 330
284 | POWER-ONE ITALY S.p.A. | UNO-2.0-I-OUTD | 2
285 | POWER-ONE ITALY S.p.A. | UNO-2.0-I-OUTD-S | 2
286 | POWER-ONE ITALY S.p.A. | UNO-2.0-I-OUTD-W | 2
287 | POWER-ONE ITALY S.p.A. | UNO-2.5-I-OUTD | 2.5
288 | POWER-ONE ITALY S.p.A. | UNO-2.5-I-OUTD-S | 2.5
289 | POWER-ONE ITALY S.p.A. | UNO-2.5-I-OUTD-W | 2.5
290 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.0-TL-OUTD | 3
291 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.0-TL-OUTD-S | 3
292 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.0-TL-OUTD-W | 3
293 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.6-TL-OUTD | 3.6
294 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.6-TL-OUTD-S | 3.6
295 | POWER-ONE ITALY S.p.A. / ABB | PVI-3.6-TL-OUTD-W | 3.6
296 | POWER-ONE ITALY S.p.A. / ABB | PVI-4.2-TL-OUTD | 4.2
297 | POWER-ONE ITALY S.p.A. / ABB | PVI-4.2-TL-OUTD-S | 4.2
298 | POWER-ONE ITALY S.p.A. / ABB | PVI-4.2-TL-OUTD-W | 4.2
299 | POWER-ONE ITALY S.p.A. / ABB | PVI-4.2-TL-OUTD/L4K | 4
300 | POWER-ONE ITALY S.p.A. / ABB | PVI 10.0-12.0-I-OUTD | 10 to 12
301 | POWER-ONE ITALY S.p.A. / ABB | PRO-33.0-TL-OUTD-SX-400 |  | 33
302 | POWER-ONE ITALY S.p.A. / ABB | PRO-33.0-TL-OUTD-S-400 |  | 33
303 | POWER-ONE ITALY S.p.A. / ABB | PRO-33.0-TL-OUTD-400 |  | 33
304 | POWER-ONE ITALY S.p.A. / ABB | TRIO-8.5-TL-OUTD-400 | 8.5
305 | POWER-ONE ITALY S.p.A. / ABB | TRIO-8.5-TL-OUTD-S-400 | 8.5
306 | POWER-ONE ITALY S.p.A. / ABB | TRIO-7.5-TL-OUTD-400 | 7.5
307 | POWER-ONE ITALY S.p.A. / ABB | TRIO-7.5-TL-OUTD-S-400 | 7.5
308 | POWER-ONE ITALY S.p.A. / ABB | TRIO-5.8-TL-OUTD-400 | 5.8
309 | POWER-ONE ITALY S.p.A. / ABB | TRIO-5.8-TL-OUTD-S-400 | 5.8
310 | POWER-ONE ITALY S.p.A. | TRIO-50.0-TL-OUTD | 50
311 | POWER-ONE ITALY S.p.A. | UNO-3.0-TL-OUTD |  | 3
312 | POWER-ONE ITALY S.p.A. | UNO-3.0-TL-OUTD-S |  | 3
313 | POWER-ONE ITALY S.p.A. | UNO-2.0-TL-OUTD |  | 2
314 | POWER-ONE ITALY S.p.A. | UNO-2.0-TL-OUTD-S |  | 2
315 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2X-400 | 27.6
316 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-400 | 27.6
317 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD - 400/IL25K | 25
318 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2X-400/IL25K | 25
319 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2-400/IL25K | 25
320 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2F-400/IL25K | 25
321 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2-400 | 27.6
322 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2F-400 | 27.6
323 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S2J-400 | 27.6
324 | Power-One Italy S.P.A / ABB | TRIO-27.6-TL-OUTD-S1J-400 | 27.6
325 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-S2X-400 | 20
326 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-S2-400 | 20
327 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-S2J-400 | 20
328 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-S2F-400 | 20
329 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-S1J-400 | 20
330 | Power-One Italy S.P.A / ABB | TRIO-20.0-TL-OUTD-400 | 20
331 | Omnik New Energy Co., Ltd | Omniksol 3-4-5k-TL2 | 3 to 5
332 | Omnik New Energy Co., Ltd | Omniksol-20k-TL | 19.2
333 | Omnik New Energy Co., Ltd | Omniksol-17k-TL | 17
334 | Omnik New Energy Co., Ltd | Omniksol-13k-TL | 13
335 | Omnik New Energy Co., Ltd | Omniksol-50k-TL-3H | 50
336 | AEI Power GmbH | 840R040 | 40
337 | AEI Power GmbH | 840R046 | 46
338 | AEI Power GmbH | 840R040 | 40
339 | AEI Power GmbH | 840R046 | 46
340 | Power-One Renewable Energy Solutions | ULTRA -TL 0770171701677 |  | 780/1170/1560
341 | Power-One Renewable Energy Solutions | PVI-STRINGCOMB-S
342 | Power-One Renewable Energy Solutions | PVI-400-0-TL-ZZ | 400
343 | SolarEdge Technologies | SE 2200 | 2.2
344 | SolarEdge Technologies | SE 3300 | 3.3
345 | SolarEdge Technologies | SE 5000 | 5
346 | SolarEdge Technologies | SE 4000 | 4
347 | SolarEdge Technologies | SE 6000 | 6
348 | SolarEdge Technologies | SE3K |  | 3
349 | SolarEdge Technologies | SE4K |  | 4
350 | SolarEdge Technologies | SE5K |  | 5
351 | SolarEdge Technologies | SE4K |  | 6
352 | SolarEdge Technologies | SE7K |  | 7
353 | SolarEdge Technologies | SE8K |  | 8
354 | SolarEdge Technologies | SE9K |  | 9
355 | SolarEdge Technologies | SE10K |  | 10
356 | SolarEdge Technologies | SE 10.5k | 10.5
357 | SolarEdge Technologies | SE 12k | 12
358 | SolarEdge Technologies | SE12.5K |  | 12.5
359 | SolarEdge Technologies | SE15K |  | 15
360 | SolarEdge Technologies | SE16K |  | 16
361 | SolarEdge Technologies | SE17K |  | 17
362 | SolarEdge Technologies | SE25K |  | 25
363 | SolarEdge Technologies | SE27.6K |  | 27.6
364 | SolarEdge Technologies | SE33.3K |  | 33.3
365 | SolarEdge Technologies | SE50K |  | 50
366 | SolarEdge Technologies | SE55K |  | 55
367 | SolarEdge Technologies | SE66.6K |  | 66.6
368 | SolarEdge Technologies | SE82.8K |  | 82.8
369 | SolarEdge Technologies | SE100K |  | 100
370 | SolarEdge Technologies | SE2200 | 2.2
371 | SolarEdge Technologies | SE3000 | 3
372 | SolarEdge Technologies | SE3300 | 3.3
373 | SolarEdge Technologies | SE3500 | 3.5
374 | SolarEdge Technologies | SE4000-16A | 3.68
375 | SolarEdge Technologies | SE4000 | 4
376 | SolarEdge Technologies | SE4600 | 4.6
377 | SolarEdge Technologies | SE5000 | 5
378 | SolarEdge Technologies | SE6000 | 6
379 | SolarEdge Technologies | SE4000H |  | 4
380 | SolarEdge Technologies | SE5000H |  | 5
381 | SolarEdge Technologies | SE6000H |  | 6
382 | Mastervolt | XS 2000 | 0.6
383 | Mastervolt | XS 3200 | 1
384 | Mastervolt | XS 4300 | 1.5
385 | Mastervolt | XS 6500 | 2
386 | DIEHI ACO | PLATINUM 4300 TL | 3.75
387 | DIEHI ACO | PLATINUM 4800 TL | 4.2
388 | DIEHI ACO | PLATINUM 5300 TL | 4.6
389 | DIEHI ACO | PLATINUM 6300 TL | 5.5
390 | DIEHI ACO | PLATINUM 7200 TL | 6.3
391 | DIEHI ACO | PLATINUM 13000 TL | 11.25
392 | DIEHI ACO | PLATINUM 16000 TL | 13.8
393 | DIEHI ACO | PLATINUM 19000 TL | 16.5
394 | DIEHI ACO | PLATINUM 22000 TL | 18.9
395 | Ningbo-Ginlong Technologies Co. Ltd. | GCI-2K | 2
396 | DAIHEN Corporation (SHARP) | JH120 | 120
397 | DAIHEN Corporation (SHARP) | JH250 | 250
398 | Carbon Management Solution | CMS | 10
399 | ABB | PVS800-57-0100Kw-A | 100
400 | ABB | PVS800-57-0250Kw-A | 250
401 | ABB | ACS 550 01-125A-4
402 | ABB | PVS800-57-0500Kw-A | 500
403 | ABB | UNO-DM-3.3 TL Plus | 3.3
404 | ABB | UNO-DM-4.0 TL Plus | 4
405 | ABB | UNO-DM-4.6 TL Plus | 4.6
406 | ABB | UNO-DM-5.0 TL Plus | 5
407 | ABB | UNO-DM-6.0 TL Plus | 6
408 | Schneider Electric | GT30E | 30
409 | Schneider Electric | GT100E | 100
410 | Schneider Electric | GT250E | 250
411 | Schneider Electric | GT500E | 500
412 | Schneider Electric | GT630E | 630
413 | Schneider Electric | Xantrex GT3.8SP | 3.3
414 | Schneider Electric | Xantrex GT2.8SP/AU | 2.5
415 | Schneider Electric | Xantrex GT5.OSP/AU | 5
416 | Schneider Electric | Xantrex TL20000E | 20
417 | Solutronic | SP25 | 2.5
418 | Solutronic | SP35 | 3.5
419 | Solutronic | SP50 | 4.6
420 | Solutronic | SP55 | 5.5
421 | Motech | PV MATE 2500 MS | 2.5
422 | Motech | PV MATE 3300 MS | 3.3
423 | Motech | PV MATE 3800 MS | 3.8
424 | Motech | PV MATE 4600 MS | 4.6
425 | Jema Innovative Energy | IF80 | 80
426 | Jema Innovative Energy | IF100 | 100
427 | ENPHASE ENERGY INC |  | 215
428 | SOROTEC | Revo-E series | `3-5
429 | Omnik New Energy Co. | Omniksol-5k-TL2 | 5
430 | Omnik New Energy Co. | Omniksol-4k-TL2 | 4
431 | Omnik New Energy Co. | Omniksol-3k-TL2 | 3
432 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 7000UE | 7
433 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 8000UE | 8
434 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 9000UE | 9
435 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt10000UE | 10
436 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt12000UE | 12
437 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt18000UE | 18
438 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt20000UE | 20
439 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 6000UE | 6
440 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 5000UE | 5
441 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 4000UE | 4
442 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 30000-50000 TL3 | 30-50
443 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt 12000-15000 TL3 | 12-15
444 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt MIN 2500-6000 TL-X | 2.5-6
445 | Shenzhen Growatt New Energy Technology Co., Ltd | Growatt MID 15KTL3-X to MID 25 KTL3-X | 15-25
446 | AEconversion GmbH | INV500-90EU PLC | 0.48
447 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1K-2G | 1
448 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1.5K-2G | 1.7
449 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2K-2G | 2.2
450 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2.5K-2G | 2.8
451 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3K-2G | 3.3
452 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3.6K-2G | 4
453 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4K-2G | 4.44
454 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4.6K-2G | 5
455 | Ningbo Ginlong Technologies Co., Ltd. | GCI-5K-2G | 5
456 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1K-2G-W | 1.1
457 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1.5K-2G-W | 1.7
458 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2K-2G-W | 2.2
459 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2.5K-2G-W | 2.8
460 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3K-2G-W | 3.3
461 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3.6K-2G-W | 4
462 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4K-2G-W | 3.3
463 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4.6K-2G-W | 5
464 | Ningbo Ginlong Technologies Co., Ltd. | GCI-5K-2G-W | 5
465 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1K-2G-H | 1.1
466 | Ningbo Ginlong Technologies Co., Ltd. | GCI-1.5K-2G-H | 1.7
467 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2K-2G-H | 2.2
468 | Ningbo Ginlong Technologies Co., Ltd. | GCI-2.5K-2G-H | 2.8
469 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3K-2G-H | 3.3
470 | Ningbo Ginlong Technologies Co., Ltd. | GCI-3.6K-2G-H | 4
471 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4K-2G-H | 4.4
472 | Ningbo Ginlong Technologies Co., Ltd. | GCI-4.6K-2G-H | 5
473 | Ningbo Ginlong Technologies Co., Ltd. | GCI-5K-2G-H | 5
474 | Ningbo Ginlong Technologies Co., Ltd. | Solis-1K-2G | 1.1
475 | Ningbo Ginlong Technologies Co., Ltd. | Solis-1.5K-2G | 1.7
476 | Ningbo Ginlong Technologies Co., Ltd. | Solis-2K-2G | 2.2
477 | Ningbo Ginlong Technologies Co., Ltd. | Solis-2.5K-2G | 2.8
478 | Ningbo Ginlong Technologies Co., Ltd. | Solis-3K-2G | 3.3
479 | Ningbo Ginlong Technologies Co., Ltd. | Solis-3.6K-2G | 4
480 | Ningbo Ginlong Technologies Co., Ltd. | Solis-4K-2G | 4.4
481 | Ningbo Ginlong Technologies Co., Ltd. | Solis-4.6K-2G | 5
482 | Ningbo Ginlong Technologies Co., Ltd. | Solis-5K-2G | 5
483 | Ningbo Ginlong Technologies Co., Ltd. | EKO-1K-2G | 1.1
484 | Ningbo Ginlong Technologies Co., Ltd. | EKO-1.5K-2G | 1.7
485 | Ningbo Ginlong Technologies Co., Ltd. | EKO-2K-2G | 2.2
486 | Ningbo Ginlong Technologies Co., Ltd. | EKO-2.5K-2G | 2.8
487 | Ningbo Ginlong Technologies Co., Ltd. | EKO-3K-2G | 3.3
488 | Ningbo Ginlong Technologies Co., Ltd. | EKO-3.6K-2G | 4
489 | Ningbo Ginlong Technologies Co., Ltd. | EKO-4K-2G | 4.4
490 | Ningbo Ginlong Technologies Co., Ltd. | EKO-4.6K-2G | 5
491 | Ningbo Ginlong Technologies Co., Ltd. | EKO-5K-2G | 5
492 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-1K-2G | 1.1
493 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-1.5K-2G | 1.7
494 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-2K-2G | 2.2
495 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-2.5K-2G | 2.8
496 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-3K-2G | 3.3
497 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-3.6K-2G | 4
498 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-4K-2G | 4.4
499 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-4.6K-2G | 5
500 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-5K-2G | 5
501 | Ningbo Ginlong Technologies Co., Ltd. | K4GCI- | 6.6
502 | Ningbo Ginlong Technologies Co., Ltd. | K7GCI-1 | 11
503 | Ningbo Ginlong Technologies Co., Ltd. | GCI-15K | 15
504 | Ningbo Ginlong Technologies Co., Ltd. | 4GCI- | 6.6
505 | Ningbo Ginlong Technologies Co., Ltd. | 7GCI-1 | 11
506 | Ningbo Ginlong Technologies Co., Ltd. | GCI-15K-W | 15
507 | Ningbo Ginlong Technologies Co., Ltd. | K-H4GCI- | 6.6
508 | Ningbo Ginlong Technologies Co., Ltd. | K-H7GCI-1 | 11
509 | Ningbo Ginlong Technologies Co., Ltd. | GCI-15K-H | 15
510 | Ningbo Ginlong Technologies Co., Ltd. | Solis-6K | 6.6
511 | Ningbo Ginlong Technologies Co., Ltd. | Solis-10K | 11
512 | Ningbo Ginlong Technologies Co., Ltd. | Solis-15K | 15
513 | Ningbo Ginlong Technologies Co., Ltd. | EKO-6K | 6.6
514 | Ningbo Ginlong Technologies Co., Ltd. | EKO-10K | 11
515 | Ningbo Ginlong Technologies Co., Ltd. | EKO-15K | 15
516 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-6K | 6.6
517 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-10K | 11
518 | Ningbo Ginlong Technologies Co., Ltd. | Solapowa-15K | 15
519 | AEI Power GmbH | 867R017 | 17
520 | AEI Power GmbH | 867R020 | 20
521 | AEI Power GmbH | 867R023 | 23
522 | Sungrow Power Supply Co., Ltd. | SG33KTL-M | 33
523 | Sungrow Power Supply Co., Ltd. | SG50KTL-M / SG60KTL M | 50-60
524 | Sungrow Power Supply Co., Ltd. | SG-XX-CX | 33-50
525 | Sungrow Power Supply Co., Ltd. | SG xx RT | 5--12
526 | GE | PROSOLAR II | 1000
527 | Shanghai Chint Power Systems Co., Ltd. | CPS SCA25KTL-DO | 25
528 | Shanghai Chint Power Systems Co., Ltd. | CPS SCA20KTL-DO | 20
529 | Shanghai Chint Power Systems Co., Ltd. | CPS SCA50/60 KTL - T | 50-60
530 | Shenzhen Litto New Energy Co., Ltd. | LT 10000HD |  | 10
531 | Shenzhen Litto New Energy Co., Ltd. | LT 8000HD |  | 8
532 | Shenzhen Litto New Energy Co., Ltd. | LT 6000HD |  | 6
533 | Shenzhen Litto New Energy Co., Ltd. | LT 5000HD |  | 5
534 | Kaco New Energy GmbH | Powador 39.0 TL3-M1 |  | 34.6
535 | Kaco New Energy GmbH | Powador 39.0 TL3 – M- INT |  | 34.6
536 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL - F - SPD 1+2 |  | 34.6
537 | Kaco New Energy GmbH | Powador 39.0 TL3 - XL INT |  | 34.6
538 | Kaco New Energy GmbH | Powador 48.0 TL3 - M - INT - Park |  | 41.6
539 | Kaco New Energy GmbH | Powador 48.0 TL3 - XL - F - SPD 1+2 – Park |  | 41.6
540 | Kaco New Energy GmbH | Powador 60.0 TL3 - M - INT |  | 52
541 | Kaco New Energy GmbH | Powador 60.0 TL3 – XL - INT |  | 52
542 | Kaco New Energy GmbH | Powador 60.0 TL3 – XL – F - SPD 1+2 |  | 52
543 | Kaco New Energy GmbH | Powador 72.0 TL3 – M – INT - Park |  | 62.4
544 | Kaco New Energy GmbH | Powador 72.0 TL3 – XL – INT - Park |  | 62.4
545 | Kaco New Energy GmbH | Powador 72.0 TL3 – XL – F – SPD 1+2 - Park |  | 62.4
546 | SolaX Power Network Technology (Zhe jiang) Co. , Ltd. | X3-Hybrid-5.0-D/N-E/C |  | 5
547 | SolaX Power Network Technology (Zhe jiang) Co. , Ltd. | X3-Hybrid-6.0-D/N-E/C |  | 6
548 | SolaX Power Network Technology (Zhe jiang) Co. , Ltd. | X3-Hybrid-8.0-D/N-E/C |  | 7
549 | SolaX Power Network Technology (Zhe jiang) Co. , Ltd. | X3-Hybrid-10.0-D/N-E/C |  | 7
550 | Huawei Machine Co., Ltd. | SUN2000-50KTL | 50.5
551 | Huawei Machine Co., Ltd. | SUN2000-50KTL-C1 | 52.5
552 | Huawei Machine Co., Ltd. | SUN2000-43KTL-IN-C1 | 52.5
553 | Huawei Machine Co., Ltd. | SUN2000-60KTL-M0 | 60
554 | Huawei Machine Co., Ltd. | SUN2000-42KTL | 47
555 | Huawei Machine Co., Ltd. | SUN2000-40KTL-JP | 40
556 | Huawei Machine Co., Ltd. | SUN2000-36KTL | 40
557 | Huawei Machine Co., Ltd. | SUN2000-36KTL-D | 40
558 | Huawei Machine Co., Ltd. | SUN2000-33KTL-A | 30
559 | Huawei Machine Co., Ltd. | SUN2000-33KTL-JP | 33.3
560 | Huawei Machine Co., Ltd. | SUN2000-24.7KTL-JP | 24.7
561 | Huawei Machine Co., Ltd. | SUN2000 8-20KTL M0 | 8-20 kW
562 | Solis | Solis 4G 3Phase | 5-20 kW
563 | Solis | Solis 4G Single Phase | 2.5-8 kW
564 | Solis | Solis 5G 3 Phase | 25-50 kW
565 | Solis | Solis 40-70K/HV | 40-70 kW
566 | Voltronic Power | Axpert MKS series |  | 1 - 5 kVA
567 | Voltronic Power | Axpert VM and VM II series |  | 1 - 5 kVA
568 | Voltronic Power | InfiniSolar series | 2-10 kW
569 | Infinity Solar | Infinity Solar V series | 1-6 kW
570 | FIMER | PVS-TL | 10-120 kW
571 | FIMER | UNO-DM-TL-Plus-Q | 1.2-6.0 kW
572 | FIMER | REACT2 UNO | 3.6-5.0 kW
573 | FIMER | TRIO-TL-OUTD | 5.8-8.5 kW
574 | Sun Grow | Sun Grow SG and SH series | various | various
575 | GOODWE | SMT Series | 25-36 kW
576 | GOODWE | SMT LV Series | 15-20 kW
577 | GOODWE | SDT Series | 4-20 kW
578 | GOODWE | LVSMT Series | 15-20 kW
579 | GOODWE | LVDT/DT Series | 12-25 kW
580 | GOODWE | LVMT Series | 30-50 kW
581 | GOODWE | NS Series | 1-3 kW
582 | GOODWE | DNS Series | 3-6 kW
583 | GOODWE | SDT G2 Series | 4-10 kW
584 | Ningbo Sunways Technologies | STS-KTL Series | 3-5 kW
585 | Ningbo Sunways Technologies | STT-KTL Series | 6-60 kW
586 | Solax Power | X-1 Series | 6-8 kW
587 | DEYE | SUN-8K-SG01LP1 | 8 kW
588 | Sofar Solar | HYD series | 5-20 kW

## Small-sized Hot Water Boilers
Equipment Type | Sub Category |  | Brand | Model | Nominal Capacity Range | SSHEE 2 | Energy Class
(kW)
Space and Process Heating
Boilers
Boiler, Hot Water, < 70 kW (Residential/Small commercial) | Gas-fired | Wall condensing boiler | CHAPPÉE | Luna Platinum + HTE | From 2 to 33 | 93% | A
|  |  | CHAPPÉE | Initia + HTE | From 2 to 40 | 93% | A
|  |  | CHAPPÉE | Solucea HTE | From 4 to 30 | 93% | A
|  | Floor condensing boiler | CHAPPÉE | Klista + HTE | From 4 to 32 | 92% | A
|  |  | CHAPPÉE | Odia HTE | From 2 to 32 | 92% | A
| Oil-fired | Condensing boiler | CHAPPÉE | Bora Evo HTE | From 14 to 40 | 90% | A
|  |  | CHAPPÉE | Sempra Nova HTE 2 | From 19 to 50 | 90% | A
1 Costs from the manufacturer’s website (Europe)
2 Seasonal space heating energy efficiency. According to EU Ecodesign 813/2013.

## Chillers
Equipment Type | Sub Category |  | Brand | Type | Model | Nominal Capacity Range | SSCEE 1 | Eurovent class
(kW)
HVAC - Cooling Systems
Chillers
Comfort chillers | Air cooled (air to water) | < 400 kW
|  | ≥ 400 kW | Carrier | Variable-speed Screw Liquid Chiller (High EE option 119+) | 30KAV 500 – Option 119+ | 517 | 214% | A
[5 empty] | 30KAV 550 – Option 119+ | 575 | 214% | A
[5 empty] | 30KAV 600 – Option 119+ | 611 | 217% | A
[5 empty] | 30KAV 650 – Option 119+ | 661 | 216% | A
[5 empty] | 30KAV 720 – Option 119+ | 731 | 218% | A
[5 empty] | 30KAV 800 – Option 119+ | 819 | 216% | A
[5 empty] | 30KAV 900 – Option 119+ | 907 | 213% | A
[5 empty] | 30KAV 1000 – Option 119+ | 1010 | 213% | A
[5 empty] | 30KAV 1100– Option 119+ | 1079 | 214% | A
1 Space seasonal cooling energy efficiency. According to EU Ecodesign 2016/2281.

## Batteries
# | Manufacturer | Model | Voltage | Capacity
1 | Renergy Batteries | PVC 12-200G | 12V | 200 Ah
2 | Ritar Power | DG 12-200 | 12V | 200 Ah
3 | Ritar Power | OPzV12-200 | 12V | 200 Ah
4 | Ritar Power | OPzV2-600 | 2V | 600 Ah
5 | Ritar Power | OPzV2-1000 | 2V | 1000 Ah
6 | Midac Batteries | ForceBlock series | 6-12V | 60-200 Ah
7 | Renogy | RNG-BATT-AGM 12-200 | 12V | 200 Ah
8 | Discover battery | 2VRE-2600TG | 2V | 1306Ah
9 | Rolls | S12-230AGM | 12V | 230 Ah
10 | Leoch Battery | 6OPzV300(2V420Ah) | 2V | 420 Ah
11 | Ultracell | UCG Solar series | 12V | 12-275 Ah
12 | Motoma | SLA Gel Series | 12V | 200 Ah
13 | Fiza Power | VRLA AGM Medium/Large series | 12V | 18-210 Ah
14 | Narada Power | 12RECXC200 | 12V | 200 Ah
15 | Daejin Battery (Newmax) | SG Series | 12V | 90-220 Ah
16 | acSolarate | LRC series | 2V | 1000 Ah
17 | acSolarate | NCC series | 2V | 500 Ah
18 | Voltamax | SG Series | 12V | 90-220 Ah
19 | Renergy Batteries | PVC 12V - 100 to 200Ah | 12V | 100-200 Ah
20 | Discover battery | 12VRE-2800TG | 12V | 180-236 AH
21 | Aobo Environmental New Energy | Uhome LFP 10K | 48V | 150-200 Ah
22 | SUNLIGHT | RES OPzV | 2V | 120-420 Ah
23 | AOBOET | Uhome LFP 2400 | 2.4V | 40Ah
24 | Amara Raja | Powerstack | 6-24V

## Solar PV Modules
Importer | Manufacturer | Made in | Model | Power range | Characteristics
RENESOLA | RENESOLA | China | JCXXXM2-24ABS | 245-325 W | Poly-crystalline, 72 cells
Belectric | FIRST SOLAR | USA | FS-4XXX-2 | 100-112.5W | Thin film
Belectric | FIRST SOLAR | USA | FS-4XXXA-2 | 100-112.5W | Thin film
Belectric | FIRST SOLAR | USA | FS-4XXA-3 | 105-117W | Thin film
Ralco | JA SOLAR | China | JAP6-72-XXX/RE/4BB | 305-350W | Poly-crystalline, 72 cells
Ralco | LINUO | China | LN300(36)P-4-XXX | 250-320W | Poly-crystalline,72 cells
Ralco | LINUO | China | LN260(30)P-4-XXX | 220-265W | Poly-crystalline,60 cells
Ralco | JA SOLAR | China | JAP6-72-XXX/4BB | 305-350W | Poly-crystalline,72 cells
Ralco | JA SOLAR | China | JAM6-72-XXX--SI | 285-325W | Mono-crystalline, 72 cells
Ralco | Risen Energy | China | RSM144-6-xxx-MDG | 395-420W | Mono-crystalline, 144 cells
Ralco | Risen Energy | China | RSM144-6 xxx M | 390-410W | Mono-crystalline, 144 cells
Ralco | Risen Energy | China | RSM72-6-XXXP | 285-345W | Poly-crystalline,72 cells
Ralco | Risen Energy | China | RSM72-6-360-380M | 360-380W | Mono-crystalline, 72 cells
Ralco | Risen Energy | China | RSM144-6-xxx-BMDG | 425-445W | Mono-crystalline, 144 cells
Ralco | Risen Energy | China | RSM144-6-xxx-BMDG | 395-420W | Mono-crystalline, 144 cells
Ralco | Risen Energy | China | RSM144-7-xxx-BMDG | 435-455W | Mono-crystalline, 144 cells
Ralco | JA SOLAR | China | JAM6(K)-72-XXX/PR | 330-360W | Mono-crystalline, 72 cells
Ralco | Risen Energy | China | RSM60-6-XXXP | 240-285W | Poly-crystalline, 60 cells
Ralco | JA SOLAR | China | JAM6(K)-72-XXX/4BB | 320-340W | Mono-crystalline, 72 cells
Ralco | JA SOLAR | China | JAP6(K)-60-XXX/4BB | 255-275W | Poly-crystalline, 60 cells
Ralco | JA SOLAR | China | JAP6(K)-72-XXX/4BB | 305-325W | Poly-crystalline,72 cells
Ralco | JA SOLAR | China | JAP-72-S01 | 310-330W | Poly-crystalline,72 cells
Ralco | JA SOLAR | China | JAP-72-S01 | 315-335W | Poly-crystalline,72 cells
Ralco | JA SOLAR | China | JAM-72-S10-XXX/PR | 390-410W | Mono-crystalline, 144 cells
Ralco | JA SOLAR | China | JAM72S30 | 525-550 | Mono-crystalline, 144 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-P6/72XXX | 285-340 W | Poly-crystalline, 72 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-P6/60XXX | 235-285 W | Poly-crystalline, 60 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-C6/72XXX | 290-350 W | Quasi-mono c-Si, 72 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-C6/60XXX | 245-290 W | Quasi-mono c-Si, 60 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-M6/72XXX | 285-345 W | Mono-crystalline, 72 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-M6/60XXX | 235-290 W | Mono-crystalline, 60 cells
TÜV Taiwan | GCL System Integration technology | China | GCL-B6/72XXX | 310-325W | Poly-crystalline, 72 cells
TÜV Taiwan | LERRI SOLAR TECHNOLOGY | China | LR6-60-XXXM | 250-300 W | Mono-crystalline, 60 cells
TÜV Taiwan | LERRI SOLAR TECHNOLOGY | China | LR6-72-XXXM | 300-360 W | Mono-crystalline, 72 cells
אנרפוינט ישראל בע"מ | CSUN | China | CSUNXXX-72P | 275-335 W | Quasi-mono c-Si, 72 cells
אנרפוינט ישראל בע"מ | GCL | China | GCL-P6/96XXX | 415-430W | Poly-crystalline,96 cells
Hanwha Q-CELLS | Hanwha Q-CELLS | China | Q.PEAK series
Hanwha Q-CELLS | Hanwha Q-CELLS | China | Q.PRIME L-G5 XXX | 310-345 W | Mono-crystalline,72 cells
Hanwha Q-CELLS | Hanwha Q-CELLS | China | Q.POWER L-G5 XXX | 310-355 W | Poly-crystalline,72 cells
Hanwha SolarOne GmbH | Hanwha SolarOne GmbH | China | HSL72P6-PC-3-XXX | 290-315W | Poly-crystalline,72 cells
Hanwha SolarOne GmbH | Hanwha SolarOne GmbH | China | HSL60P6-PD-1-XXX | 245-270W | Poly-crystalline,60 cells
Hanwha SolarOne GmbH | Hanwha SolarOne GmbH | China | HSL72P6-PC-1-XXX | 290-330W | Poly-crystalline,72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXPD05 | 215-275W | Poly-crystalline,60 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXPD14A(II) | 340-375W | Mono-crystalline, 72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXPD14 | 260-320W | Poly-crystalline,72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXDD05A II | 270-315W | Poly-crystalline,60 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXDD14A II | 325-375W | Mono-crystalline,72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72 | 225-335W | Mono-crystalline,72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXPP-72-V | 250-340W | Poly-crystalline,72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72 | 255-385 | Mono-crystalline,72 cells
RECOM | RECOM | ITALY | RCM-XXX-6PA | 290-310W | Poly-crystalline,72 cells
RECOM | RECOM | GERMANY | RCM-XXX-6MA | 290-330W | Mono-crystalline,72 cells
אוריאל ואנה | RENESOLA | China | JCXXXM-24/Ab | 300 W | Poly-crystalline, 72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Seraphim Solar | China | SRP-XXX-6PA | 245-335W | Poly-crystalline, 72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Seraphim Solar | China | SRP-XXX-6PB | 205-275W | Poly-crystalline, 60 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Seraphim Solar | China | SRP-XXX-6MA | 270-370W | Mono-crystalline,72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Seraphim Solar | China | SRP-XXX-6MB | 225-305W | Mono-crystalline,60 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Seraphim Solar | China | SRP-XXX-BMA | 525-540W | Mono-crystalline,144 cells
TUV SUD | Seraphim Solar | China | SRP-XXX-6PA | 245-335W | Poly-crystalline, 72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Suzhou Talesun Solar | China | TP672M-xxx | 300-375W | Mono-crystalline,72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Suzhou Talesun Solar | China | TP660M-xxx | 215-315W | Mono-crystalline,60 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Suzhou Talesun Solar | China | TP672P-xxx | 285-345W | Poly-crystalline, 72 cells
TUV SUD CERTIFICATION AND TESTING (CHINA) CO. LTD | Suzhou Talesun Solar | China | TP660P-xxx | 240-285W | Poly-crystalline, 60 cells
ET SOLAR | ET SOLAR | China | ETP660XXXWW | 235-280w | Poly-crystalline, 60 cells
ET SOLAR | ET SOLAR | China | ETP672XXXWW | 285-335w | Poly-crystalline, 72 cells
CEEG | CSUN | China | CSUNXXX-72P | 255-345 | Poly-crystalline, 72 cells
TÜV Taiwan | TRINA | China | TSM-xxxPD05 | 280-290W | Poly-crystalline, 60 cells
TÜV Taiwan | TRINA | China | TSM-xxxPD14 | 260-345W | Poly-crystalline, 72 cells
TÜV Taiwan | TRINA | China | TSM-xxxPEG5 | 230-290 | Poly-crystalline, 60 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXPP-72 | 250-350 | Poly-crystalline, 72 cells
TÜV Taiwan | LONGI | China | LR6-60-XXXM | 250-300 | Mono-crystalline, 60 cells
TÜV Taiwan | LONGI | China | LR6-72-XXXM | 300-360 | Mono-crystalline, 72 cells
TÜV Taiwan | LONGI | China | LR5-72-HPH | 530-550 | Mono-crystalline, 144 cells
RCS | SUNMAN | China | SMDXXXP-6X12 | 315-320 | Poly-crystalline, 72 cells
RCS | SUNMAN | China | SMSXXXP-6X12 | 315-320 | Multi-crystalline, 72 cells
RCS | SUNMAN | China | SMS325M-6X12 | 320-325 | Mono-crystalline, 72 cells
RCS | SUNMAN | China | SMDXXXM-6X12 | 320-325 | Mono-crystalline, 72 cells
Various | SUNTECH | China | STPXXX-24/Vfw | 395-415 | Poly-crystalline, 72 cells
Various | SUNTECH | China | STPXXX-24/Vfw | 320-330 | Multi-crystalline, 72 cells
Various | SUNTECH | China | STPXXX-20/Wfw | 265-275 | Multi-crystalline, 60 cells
אנרפויינט ישראל | PHONO SOLAR | China | PS325P-24/T | 285-345 | Poly-crystalline, 72 cells
אנרפויינט ישראל | PHONO SOLAR | China | PSXXXP-20/U | 250-270 | Poly-crystalline, 60 cells
אנרפויינט ישראל | PHONO SOLAR | China | PSXXXM-20/U | 255-280 | Mono-crystalline, 60 cells
ראלקו | JA SOLAR | China | JAP72S01-XXX/SC | 205-330 | Poly-crystalline, 72 cells
ראלקו | SHARP | China | ND-AHXXX | 285-340 | Poly-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72 | 340-385 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | Cheetah 72M | 380-400 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXPP-72-V | 250-250 | Mono-crystalline, 72 cells
HANWHA Q.Cells | QCELLS | China | Q.POWER-G5 XXX | 260-280 | Poly-crystalline, 60 cells
AEG | AEG | China | AS-P728-XXX | 285-335 | Poly-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXPP-72-DV | 285-345 | Poly-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXPP-72-H | 325-345 | Poly-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72-V | 250-385 | Mono-crystalline, 72 cells
LONGI | LONGI | China | LR6-72PE-XXXM | 340-375 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKM335M-72-DV | 250-385 | Mono-crystalline, 72 cells
Ralco | JA SOLAR | China | JAM72S01-360/PR | 345-390 | Mono-crystalline, 72 cells
CEEG | CSUN | China | CSUN XXX-60M | 275-305 | Mono-crystalline, 60 cells
CEEG | CSUN | China | CSUN XXX-72M | 325-370 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72H | 250-385 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | JKMXXXM-72H-V | 250-385 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | Eagle 72M | 330-350 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | Eagle 72P - V | 320 - 340 | Poly-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | Cheetah Dual 72 | 375-395 | Mono-crystalline, 72 cells
JINKO SOLAR | JINKO SOLAR | China | Tiger Mono-facial (JKMxxxN-7RL3) | 450-470 | Mono-crystalline, 156 cells
JINKO SOLAR | JINKO SOLAR | China | Tiger Pro (JKMxxxx-7RL4-V) | 555-575 | Mono-crystalline, 156 cells
JINKO SOLAR | JINKO SOLAR | China | Tiger Pro (JKMxxxx-7TL4-V) | 520-540 | Mono-crystalline, 144 cells
JINKO SOLAR | JINKO SOLAR | China | Tiger Pro (JKMxxxx-72HL4-V) | 530-550 | Mono-crystalline, 144 cells
RELCO | JA SOLAR | China | JAM60S03-XXX/PR | 300-310 | Mono-crystalline, 60 cells
RELCO | JA SOLAR | China | JAP60S03-XXX/SC | 270-300 | Poly-crystalline, 72 cells
RELCO | JA SOLAR | China | JAM72S30 series | 525-550 | Mono-crystalline, 144 cells
RELCO | JA SOLAR | China | JAP72S03-XXX/SC | 320-350 | Poly-crystalline, 72 cells
RELCO | JA SOLAR | China | JAM72D10 xxx MB | 400-420 | Mono-crystalline, 144 cells
CHINT | CHINT SOLAR / ASTRONERGY | China | CHSM6612P/HV-XXXW | 245-355 | Poly-crystalline, 72 cells
CHINT | CHINT SOLAR / ASTRONERGY | China | CHSM72M-HC | 525-550 | Mono-crystaline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS3U KuMax | 350-360 | Poly-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS3U-XXXMB-FG | 360-375 | Mono-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS6U series | 315-330 | Poly-crystalline, 72 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS3W series | 395-415 | Poly-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS3W HiKu | 390-405 | Poly-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS6W HiKu | HiKu6 Mono | Mono-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS3W HiKu | 425-450 | Mono-crystalline, 144 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | CS1U HiDM | 395-410 | Mono crystalline
CANADIAN SOLAR | CANADIAN SOLAR | China | CS7N HiKu7 | 640-665 | Mono crystalline, 132 cells
CANADIAN SOLAR | CANADIAN SOLAR | China | BiHiKu7 | 635-660 | Mono crystalline, 132 cells
TUV | TRINA SOLAR | China | TSM-XXXDEG14C.07(II) | 335-370 | Mono-crystalline, 72 cells
TUV | TRINA SOLAR | China | TSM-XXXDE 14A(II) | 340-375 | Mono-crystalline, 72 cells
TUV | TRINA SOLAR | China | TSM-XXXPE14A | 305-360 | Poly-crystalline, 72 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.PEAK L-G5 XXX | 310-370 | Mono-crystalline, 72 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.PEAK L-G5 XXX | 360-380 | Mono-crystalline, 72 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.POWER L-G5.0.G XXX | 310-335 | Mono-crystalline, 72 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.POWER L-G5.0.G XXX |  | Mono-crystalline, 72 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.PEAK DUO L-G6 | 405-425 | Mono-crystalline, 144 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.PEAK DUO L-G8.3 | 415-430 | Mono-crystalline, 144 cells
Hanwha Solarone | Hanwha Q-CELLS | China | Q.PLUS L-G4.2 XXX | 334-345 | Mono-crystalline, 72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXDD14A(II) | 325-375 | Mono-crystalline, 72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-XXXPEG14 | 280-340 | Poly-crystalline, 72 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-DEG15MC.20(II) | 385-410 | Mono-crystalline, 144 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-DE18M | 480-505 | Mono-crystalline, 150 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-DE18M (II) | 480-505 | Mono-crystalline, 150 cells
TRINA SOLAR | TRINA SOLAR | China | TSM-DE19 | 530-555 | Mono-crystalline, 110 cells
TRINA SOLAR | TRINA SOLAR | China | TallMax series | 320-340 | Poly-crystalline, 72 cells
TRINA SOLAR | TRINA SOLAR | China | TallMax series | 435-455 | Mono-crystalline, 144 cells
SUNPOWER | SUNPOWER | Mexico | SPR-E20-XXX-COM | 290-385 | Mono-crystalline, 96 cells
SUNPOWER | SUNPOWER | Mexico | SPR-E20-XXX-COM | 410-515 | Mono-crystalline, 128 cells
SUNPOWER | SUNPOWER | Mexico | SPR-P19-XXX-COM | 385-410 | Mono-crystalline, 486 cells
SOLATICS | BYD | China | BYDXXXP6D-36 | 265-340 | Poly-crystalline, 72 cells
Qudra Energy | Qudra | China | S144/FNH-BG | 430-450 | Mono-crystalline, 144 cells
Qudra Energy | Qudra | China | S144/FNH | 430-450 | Mono-crystalline, 144 cells
Qudra Energy | Qudra | China | S144/M10H | 530-550 | Mono-crystalline, 144 cells
Various | YINGLI SOLAR | China | YLM 72 P series | 340-375 | Poly-crystalline, 72 cells
Various | Wuxi Sunket | China | SKT 320-265M-24 | 320-365 | Mono-crystalline, 72 cells
Various | AE Solar | Germany | AE M6-72 series | 350-380 | Mono-crystalline, 72 cells
Various | AE Solar | Germany | AE M5 series | 90-275 | Mono crystalline
Various | AE Solar | Germany | AE P6 series | 150-325 | Poly-crystalline
Various | HT-SAAE | China | HT72-156P | 325-350 | Poly-crystalline, 72 cells
Various | HT-SAAE | China | HT72-156M | 355-380 | Mono-crystalline, 72 cells
Various | CW Enerji | Turkey | CWT 144PM | 435-455 | Mono-crystaline, 144 cells
Various | Sun Day Energy | China | SDP series | 290-460 | Poly-crystalline
Various | Sun Day Energy | China | SDM series | 440-500 | Mono crystalline
Various | JustSolar | China | JST series | 360-380 | Mono-crystalline, 72 cells
Various | DAH Solar | China | DHM 72 | 350-370 | Mono-crystalline, 72 cells
Various | DAH Solar | China | DHM 72/5BB | 335-370 | Mono-crystalline, 72 cells
Various | DAH Solar | China | HCP72X9 | 345-355 | Poly-crystalline, 72 cells
Various | DAH Solar | China | Perc Poly Solar Module | 335-350 | Poly-crystalline, 72 cells
Various | SUNENG Panel | Turkey | SE 360-385 72PM | 360-385 | Mono-crystalline, 72 cells
Various | SUNENG Panel | Turkey | SE 390-405-72PM | 390-405 | Mono-crystalline, 72 cells
Various | Solaico | Spain | SL726 - 380 M | 380 | Mono-crystalline, 72 cells
Various | Solaico | Spain | SL726 - 300-330W | 300-330 | Mono-crystalline, 72 cells
Various | Jinergy | China | JNMP 72 | 330-350 | Poly-crystalline, 72 cells
Various

## Refrigerator
# | Manufacturer | Brand | Model | Type (refrigerator only, refrigerator/freezer) | Capacity liter (net) - refrigerator | Capacity liter (net) - freezer | Energy consumption (kWh/year) | Energy saving (kWh/year) | GHG emission reduction (tCO2/year) | GHG emission reduction over lifetime (tCO2)
1 | Homa | Magic | MG-RF334X | Refrigerator/Freezer | 257 | 77 | 225 | 67.5 | 0.034897 | 0.17449 | Factor | kgCO2/kWh | 0.517
2 | Arcilek | BEKO | CN160233PT | Refrigerator/Freezer | 400 | 180 | 404 | 121.2 | 0.06266 | 0.3133 | Energy saving | 30%
3 | Arcilek | BEKO | 966375 ES | Refrigerator/Freezer | 277 | 98 | 308 | 92.4 | 0.047771 | 0.23885 | Lifetime | 5 | years
4 | Arcilek | BEKO | RDNT401E30ZXBN | Refrigerator/Freezer | 277 | 98 | 308 | 92.4 | 0.047771 | 0.23885
5 | Arcilek | BEKO | RDNT470E30ZXBRN | Refrigerator/Freezer | 316 | 106 | 317 | 95.1 | 0.049167 | 0.24583
6 | Arcilek | BEKO | RDNT470I30ZXBRN | Refrigerator/Freezer | 316 | 106 | 317 | 95.1 | 0.049167 | 0.24583
7 | Arcilek | BEKO | DN152241PT | Refrigerator/Freezer | 405 | 152 | 303 | 90.9 | 0.046995 | 0.23498
8 | Arcilek | BEKO | CN1602502XB | Refrigerator/Freezer | 400 | 180 | 404 | 121.2 | 0.06266 | 0.3133
9 | Arcilek | BEKO | GN150536GB | Refrigerator/Freezer | 196 | 376 | 414 | 124.2 | 0.064211 | 0.32106
10 | Arcilek | BEKO | RCNE724E30XB | Refrigerator/Freezer | 185 | 430 | 332 | 99.6 | 0.051493 | 0.25747
11 | Vestel | EVA | EV-BM507X | Refrigerator/Freezer | 403 | 131 | 355 | 106.5 | 0.055061 | 0.2753
12 | Vestel | EVA | EV-4D522X | Refrigerator/Freezer | 343 | 179 | 319 | 95.7 | 0.049477 | 0.24738
13 | Vestel | EVA | EV-4D522GB | Refrigerator/Freezer | 343 | 179 | 319 | 95.7 | 0.049477 | 0.24738
14 | Vestel | EVA | EV-TM425X | Refrigerator/Freezer | 321 | 94 | 244 | 73.2 | 0.037844 | 0.18922
15 | Vestel | FG | RF2795BIR | Refrigerator/Freezer | 303 | 94 | 219 | 65.7 | 0.033967 | 0.16983
| LG | LG | GR-608BEDID | Refrigerator/Freezer | 321 | 209 | 315 | 94.5 | 0.048857 | 0.24428
| LG | LG | GR-I777S | Refrigerator/Freezer | 379 | 130 | 350 | 105 | 0.054285 | 0.27143
| LG | LG | GR-I485S | Refrigerator/Freezer | 348 | 130 | 340 | 102 | 0.052734 | 0.26367
| Midea | Midea | MDRF632FGF28PA | Refrigerator/Freezer | 305 | 169 | 295 | 88.5 | 0.045755 | 0.22877
| LG-HA | LG | GR-B707PSE | Refrigerator/Freezer | 321 | 117 | 290 | 87 | 0.044979 | 0.22489
| LG-HA | LG | GR-M727LSE | Refrigerator/Freezer | 345 | 130 | 340 | 102 | 0.052734 | 0.26367
| Arcelik | Grundig | GKNI56930FN | Refrigerator/Freezer | 280 | 90 | 198 | 59.4 | 0.03071 | 0.15355
| Arcelik | Grundig | GKN283740HXRN | Refrigerator/Freezer | 430 | 185 | 332 | 99.6 | 0.051493 | 0.25747
| Arcelik | Grundig | GQN1622GB | Refrigerator/Freezer | 376 | 196 | 414 | 124.2 | 0.064211 | 0.32106
| Midea | Midea | MDRF632FGF22 | Refrigerator/Freezer | 305 | 169 | 295 | 88.5 | 0.045755 | 0.22877
| LG-HA | LG | GR-608WEDID | Refrigerator/Freezer | 321 | 209 | 315 | 94.5 | 0.048857 | 0.24428
| LG-HA | LG | GR-628INSE | Refrigerator/Freezer | 321 | 209 | 315 | 94.5 | 0.048857 | 0.24428

## Washing Machine
# | Manufacturer | Brand | Model | Type (washing only, washer/dryer...) | Washing Capacity (kg) | Energy consumption (kWh)/100 cycle | Energy saving (kWh/year) | GHG emission reduction (tCO2/year) | GHG emission reduction over lifetime (tCO2)
1 | TCL | TCL | TCL-WM814G | Washer | 8 Kg | 48 | 14.4 | 0.0074448 | 0.037224 | Factor | kgCO2/kWh | 0.517
2 | Beko | Beko | B3W5841IM | Washer |  | 47 | 14.1 | 0.0072897 | 0.036448 | Energy saving | 30%
3 | LG | LG | V3-S8XTWE | Washer | 8 Kg | 48 | 14.4 | 0.0074448 | 0.037224 | Lifetime | 5 | years
3 | TCL | TCL | TCL-WM914G | Washer | 9 Kg | 49 | 14.7 | 0.0075999 | 0.037999
4 | LG | LG | WT-B12103WD | Washer & Dryer |  | 57 | 17.1 | 0.0088407 | 0.044203
6 | LG | LG | V3-S9XTWE | Washer | 9 Kg | 50 | 15 | 0.007755 | 0.038775
5 | Midea | Midea | MF200W100WB/T-BL | Washer | 10 Kg | 52 | 15.6 | 0.0080652 | 0.040326
6 | Midea | Midea | MF100W70B/T-PL | Washer | 7 Kg | 46 | 13.8 | 0.0071346 | 0.035673
9 | LG | LG | V3-S10XTWE | Washer | 10 Kg | 53 | 15.9 | 0.0082203 | 0.041101
10 | LG | LG | V2-B10X3WE | Washer | 10 Kg | 53 | 15.9 | 0.0082203 | 0.041101
11 | LG | LG | V3-S107DXTE | Washer & Dryer | 10.5/7kg | 53 | 15.9 | 0.0082203 | 0.041101 |  | 14.5 | 10.846 | 0.010846
7 | Midea | Midea | MF200W120WB/T-BL | Washer | 12 Kg | 54 | 16.2 | 0.0083754 | 0.041877
13 | LG | LG | V2-B12X3WE | Washer | 12 Kg | 57 | 17.1 | 0.0088407 | 0.044203
14 | LG | LG | V2-B128DX3E | Washer & Dryer | 12/8kg | 57 | 17.1 | 0.0088407 | 0.044203
8 | Midea | Midea | MF100W80B/T-BL | Washer | 8 Kg | 48 | 14.4 | 0.0074448 | 0.037224
9 | Midea | Midea | MF100W90B/T-BL | Washer | 9 Kg | 50 | 15 | 0.007755 | 0.038775
17 | LG | LG | V4-S9YWE | Washer | 9 Kg | 50 | 15 | 0.007755 | 0.038775
10 | Beko | Beko | B3W51042MG | Washer |  | 45 | 13.5 | 0.0069795 | 0.034897 |  | 0.0144
19 | Samsung | Samsung | WW9ST554DAN/PS | Washing Machine | 9kg | 49 | 14.7 | 0.0075999 | 0.037999
20 | Samsung | Samsung | WW80T554DAN/PS | Washing Machine | 8kg | 52 | 15.6 | 0.0080652 | 0.040326
21 | Samsung | Samsung | WW11BB944DGBKJ | Washing Machine | 11kg | 53 | 15.9 | 0.0082203 | 0.041101
22 | Samsung | Samsung | WW90T554DAN/PS | Washing Machine | 9kg | 56 | 16.8 | 0.0086856 | 0.043428

## Dishwasher
# | Manufacturer | Brand | Model | Type | Washing Capacity (kg) | Energy consumption (kWh)/100 cycle | Energy saving (kWh/year) | GHG emission reduction (tCO2/year) | GHG emission reduction over lifetime (tCO2)
1 | TCL | TCL | DBC435TSL | Dishwasher |  | 65 | 19.5 | 0.010082 | 0.050408 | Factor | kgCO2/kWh | 0.517
2 | Beko | Beko | DFC335HP | Dishwasher |  | 75 | 22.5 | 0.011633 | 0.058163 | Energy saving | 30%
3 | [9 empty] | Lifetime | 5 | years
3
4
6
5
6
9
10
11 | [10 empty] | 14.5 | 10.846 | 0.010846
7
13
14
8
9
17
10 | [10 empty] | 0.0144
19
20
21
22

## Dryer
# | Manufacturer | Brand | Model | Type (washing only, washer/dryer...) | Washing Capacity (kg) | Energy consumption (kWh)/100 cycle | Energy saving (kWh/year) | GHG emission reduction (tCO2/year) | GHG emission reduction over lifetime (tCO2)
1 | LG-HA | LG | VH2-B9W | dryer | 9 | 194 | 58.2 | 0.030089 | 0.15045 | Factor | kgCO2/kWh | 0.517
2 | LG-HA | LG | VH2-S16WE | dryer | 16 | 305 | 91.5 | 0.047306 | 0.23653 | Energy saving | 30%
3 | [9 empty] | Lifetime | 5 | years
3
4
6
5
6
9
10
11 | [10 empty] | 14.5 | 10.846 | 0.010846
7
13
14
8
9
17
10 | [10 empty] | 0.0144
19
20
21
22